Bunbury Senior High School

Chemistry Unit 1 & 2

Assignment #1:
Validation Test

NAME: ______________________________________

Reading time: 5 minutes

Working time: 55 minutes

| Section | Mark |
| --- | --- |
| Written assignment | / 24 |
| Validation test (= Test score x2) | / 76 |
| Total | / 100 |

- (5 marks)

- Draw a labelled diagram of an atomic absorption spectrophotometer showing the burner, detector, hollow cathode lamp and monochromator and slit. 	(1 mark)

- Describe the role of the hollow cathode lamp in atomic absorption spectroscopy. 	(2 marks)

- What is the function of the monochromator? 	(1 mark)

- What is the function of the detector? 	(1 mark)

- (5 marks)

- Explain what the term absorption refers to in the term “atomic absorption spectroscopy” and include a diagram to help illustrate your answer.	(2 marks)

- Describe the relationship between absorbance and concentration of an element in a sample.

(1 mark)

- Chalcopyrite is a mineral containing copper, iron and sulfur. Would the presence of iron in the sample affect the instrument’s ability to detect copper? Explain your answer.	(2 marks)

- (8 marks)

A chemist wished to analyse the amount of zinc in dietary supplement tablets. They prepared 4 tablet samples for analysis by dissolving the tablets individually in 10% nitric acid. Each tablet solution was made up to a final volume of 100 mL. Five standard solutions of zinc were also prepared. The absorbances of the standard and sample solutions were determined by atomic absorption spectroscopy of 213.9 nm, and the results are shown in the table blow.

| Standard zinc solutions (mg L-1) | Absorbance |
| --- | --- |
| 0.00 | 0.000 |
| 1.00 | 0.170 |
| 2.00 | 0.330 |
| 3.00 | 0.503 |
| 4.00 | 0.680 |
| Tablet samples: mean absorbance | 0.280 |

- Plot a calibration curve for the standard zinc solutions on the grid below.	(5 marks)

- Use your calibration curve and the mean absorbance for the tablet samples to calculate the mean amount of zinc per tablet in mg.	(3 marks)

- (4 marks)

Gas chromatograms are instruments which are able to separate compounds from a mixture. A diagram of a gas chromatogram is shown below:

X

Y

- Name the part labelled X on the diagram. 	  (1 mark)

- Name the part labelled Y on the diagram. 	  (1 mark)

- Why do substances become separated when they move through the part labelled X.	(2 marks)

- (4 marks)

An athlete provided a urine sample to be tested for steroids. The sample and the steroid standards were treated and then analysed by gas chromatography with mass spectrometric detection.

Below are the chromatograms of a standard mixture containing four different steroids, and the sample from the athlete.

- Which steroid has the athlete taken? Justify your answer.	(2 marks)

- It is possible for two different compounds to have the same retention time during gas chromatography, thus gas chromatographs would not conclusively prove in court whether or not the athlete has taken a type of steroid. How could a forensic scientist use mass spectrometry to confirm whether or not the steroid is present in the urine sample? 	(2 marks)

- (2 marks)

An unknown sample was collected and was analysed by mass spectrometry. The mass spectrum of the substance is shown below:

This table shows the mass to charge ratio of a selection of fragments in the mass spectrum for three compounds of interest in forensic investigations.

| Compound name | Significant fragments (mass to charge ratio) |
| --- | --- |
| Caffiene | 67 109 194 |
| Cocaine | 82 94 182 |
| Paracetemol | 43 109 151 |

What is the identity of the unknown substance? Justify your answer.	(2 marks)

- (5 marks)

A pure, gaseous sample of element Z is introduced into a mass spectrometer, and the spectrum below is generated:

- What do the peaks in this spectrum represent?	(1 marks)

- Use the graph to calculate the average atomic mass of element Z.	(2 marks)

- Using your periodic table, identify and name element Z.	(1 mark)

- Write the formula of the major isotope of this element in the form of ZAX.	(1 mark)

- (5 marks)

- List and briefly outline the four main steps that occur inside a mass spectrometer during the process of mass spectrometry.	(4 marks)

- Draw a labelled diagram of a mass spectrometer showing the main parts of the instrument.	(1 mark)